| Vitamin D |  |
| --- | --- |
| Protocol Id | 051101 |
| Version # | 1 |
| Description of Protocol | Any methodology that uses the appropriate National Institute of Standards and Technology (NIST) standard reference material and whose use is monitored by participation in Vitamin D External Quality Assessment Scheme (DEQAS) can be used to quantify vitamin D exposure. |
| Specific Instructions | None |
| Protocol Text | All bioassays that follow the guidelines present in the Description of Protocol are equally valid, and the data collected can be compared across studies. |
| Selection Rationale | The PhenX Working Group selected this protocol because two recent systematic evidence-based reviews suggest that serum 25 hydroxy vitamin D is the best biomarker for vitamin D exposure and captures exposure levels from both diet and sunlight. |
| Source | National Institute of Standards and Technology (NIST) Vitamin D External Quality Assessment Scheme (DEQAS) |
| Language | Not Applicable |
| Participant | All ages, but most important for infants and the elderly. |
| Personnel and Training Required | Personnel and required training will depend on Vitamin D protocol selected. |
| Equipment Needs | Equipment needed will depend on Vitamin D protocol selected. |
| Standards | Standard; Name; ID; Source. Common Data Elements (CDE); Person Serum Vitamin D Level Number; 2946961; CDE Browser. Logical Observation Identifiers Names and Codes (LOINC); PhenX - vitamin D protocol; 62288-6; LOINC. |
| General References | None |
| Protocol Type | Bioassay |
| Derived Variables | None |
| Requirements | Requirement Category; Required. Average time of greater than 15 minutes in an unaffected individual Average time of greater than 15 minutes in an unaffected individual; No. Major equipment This measure requires a specialized measurement device that may not be readily available in every setting where genome wide association studies are being conducted. Examples of specialized equipment are DEXA, Echocardiography, and Spirometry; No. Specialized requirements for biospecimen collection This protocol requires that blood, urine, etc. be collected from the study participants.; No. Specialized training This measure requires staff training in the protocol methodology and/or in the conduct of the data analysis.; No. |