| Spirometry - Adult |  |
| --- | --- |
| Protocol Id: | 91601 |
| Description of Protocol | A spirometric test requires that the subject take a full, deep breath and then exhale as forcefully as possible into a handheld portable spirometer. The subject’s effort is called the forced expiratory maneuver and most commonly measures the amount and speed of air that is exhaled. The total amount (volume) of air exhaled is called the forced vital capacity (FVC). The amount of air exhaled in 1 second is called the forced expiratory volume in 1 second (FEV1). Although handheld spirometers are commonly used in clinical research studies, the same results can be obtained from more-sophisticated floor-mounted devices, which are typically available in a respiratory function testing laboratory. |
| Specific Instructions | Numerous instructions are embedded in the protocol and in Table 1 of the protocol. This protocol is mainly for adults. The Spirometry - Preschool and Child protocol uses animated computer software and visual cues, which are necessary for young children. |
| Protocol: | Full protocol is available in the Spirometry Standards PDF, available at: ATS ERS Spirometry Standards (2005) ID (patient identification):___________________________ Patient name:___________________________ Data type (SP followed by E=expiratory or I=Inspiratory, followed by S=single or B=best curve):___________________________ Barometric pressure (mmHg) :___________________________ Temperature (°C) used in BTPS calculation:___________________________ Relative humidity (%):___________________________ FVC quality attribute (A, B, C, D or F) :___________________________ FEV1 quality attribute (A, B, C, D or F) :___________________________ Effort attribute (A, B, C, D or F) :___________________________ Interpretation code (see ATS interpretation scheme) :___________________________ Deleted manoeuvre (Y or N) :___________________________ Acceptable manoeuvre (Y or N) :___________________________ Technician quality control code (A, B, C, D or F) :___________________________ Computer quality code (A, B, C, D or F) :___________________________ Plateau achieved (Y or N) :___________________________ Review (N or R for ‘‘needs review’’ or ‘‘was reviewed’’) :___________________________ Date of review (DD/MM/YYYY) :___________________________ Reviewer initials:___________________________ BTPS factor (x.xxx) :___________________________ Spirometer manufacturer:___________________________ Spirometer model:___________________________ Spirometer serial number:___________________________ Spirometer type:___________________________ Testing facility name:___________________________ City:___________________________ State/region:___________________________ Zip/post code:___________________________ Country:___________________________ E-mail:___________________________ Phone number:___________________________ Calibration date (DD/MM/YYYY) :___________________________ Calibration time (HH:MM) :___________________________ Calibration result (P or F for ‘‘passed’’ or ‘‘failed’’) :___________________________ Date (DD/MM/YYYY) :___________________________ Time (HH:MM) :___________________________ Technician ID (technician identification code or initials) :___________________________ Manoeuvre number:___________________________ Age (integer years) :___________________________ Height (cm) :___________________________ Weight (kg) :___________________________ Sex (M or F) :___________________________ Race (2-character race code) :___________________________ Date of birth (DD/MM/YYYY) :___________________________ Reference values source (first author surname and date of publication, e.g. ‘‘Knudson 1983’’) :___________________________ Reference values correction factor (x.xx, 1.00 for no correction) :___________________________ Testing position (standing, sitting or supine) :___________________________ Test type (pre-, post-, bronchodilator, methacholine concentration or dose) :___________________________ FVC (mL) :___________________________ Extrapolated volume (mL) :___________________________ FEV1 (mL) :___________________________ FEV6 (mL) :___________________________ PEF (mL / s) :___________________________ FEF25–75% (mL / s) :___________________________ VC (mL) :___________________________ Forced expiratory time (s) :___________________________ Time to PEF (ms) :___________________________ Predicted FVC (mL) :___________________________ Predicted FEV1 (mL) :___________________________ Predicted FEV6 (mL) :___________________________ Predicted FEV1/FVC% (xxx.x%):___________________________ Predicted FEV1/FEV6% (xxx.x%):___________________________ Comments text:___________________________ Original sampling interval (ms) :___________________________ Blank 1 or FEF25%:___________________________ Blank 2 or FEF50%:___________________________ Blank 3 or FEF75%:___________________________ Blank 4 or FEF90%:___________________________ Blank 5:___________________________ Blank 6:___________________________ Blank 7:___________________________ Blank 8:___________________________ Blank 9:___________________________ Blank 10:___________________________ Number of data points:___________________________ Flow data points (mL/s; variable number contained in number of data points) :___________________________ |
| Selection Rationale | Spirometry is invaluable as a screening test of general respiratory health. This protocol is the international standard supported by both the American Thoracic Society and the European Respiratory Society. The selected protocol is well-established over many years and serves as the unambiguous standard for lung function assessment in clinical research studies. |
| Source | Miller, M. R., Hankinson, J., Brusasco, V., Burgos, F., Casaburi, R., Coates, A., . . . Wanger, J. (2005). Standardisation of spirometry. Series “ATS/ERS task force: Standardisation of lung function testing.” European Respiratory Journal, 26(2), 330-331. |
| Language | English |
| Participant | Adults |
| Personnel and Training Required | Technician trained in conducting Pulmonary Function Tests (PFTs) with a spirometer |
| Equipment Needs | The primary instrument used in pulmonary function testing is the spirometer. |
| Standards: | Standard; Name; ID; Source. Common Data Element (CDE); Person Pulmonary Function Test Measurement Text; 2970229; CDE Browser. Logical Observation Identifiers Names and Codes (LOINC); Resp spirometry proto; 62639-0; LOINC. |
| General references | Andreeva, E., Pokhaznikova, M., Lebedev, A., Moiseeva, I., Kozlov, A., Kuznetsova, O., & Degryse, J. (2015). The RESPECT study: RESearch on the PrEvalence and the diagnosis of COPD and its Tobacco-related etiology: a study protocol. BMC Public Health, 15(1), 831. Berntsen, S., Stølevik, S. B., Mowinckel, P., Nystad, W., & Stensrud, T. (2016). Lung function monitoring; A randomized agreement study. Open Respiratory Medicine Journal, 10, 51-57. Centers for Disease Control and Prevention (CDC). National Health and Nutrition Examination Survey (NHANES) 2007-2008. Respiratory Health Spirometry Procedures Manual. |
| Protocol Type | Physical Examination |
| Derived Variables | None |
| Requirements | Requirement Category; Required. Major equipment This measure requires a specialized measurement device that may not be readily available in every setting where genome wide association studies are being conducted. Examples of specialized equipment are DEXA, Echocardiography, and Spirometry; No. Specialized training This measure requires staff training in the protocol methodology and/or in the conduct of the data analysis.; Yes. Specialized requirements for biospecimen collection This protocol requires that blood, urine, etc. be collected from the study participants.; No. Average time of greater than 15 minutes in an unaffected individual Average time of greater than 15 minutes in an unaffected individual; No. |
| Process and Review: | Expert Review Panel #6 (ERP 6) reviewed the measures in the Respiratory domain. Guidance from the ERP 6 includes the following: • No significant changes to measure Back-compatible: no changes to the Data Dictionary Previous version in Toolkit archive (link) |