| About the Measure |  |
| --- | --- |
| Protocol Id | 91703 |
| Domain: | Respiratory |
| Measure: | Biomarker of exposure to nicotine-containing products |
| Definition: | Cotinine is a major metabolite of nicotine and is an indicator of exposure to nicotine from tobacco or other nicotine containing products. |
| Purpose: | To assess smoking and environmental tobacco smoke (ETS) exposure by measuring cotinine, a metabolite of nicotine. To screen for tobacco use and quantity and to estimate exposure to secondhand smoke (SHS) and all tobacco exposure. Also used as an outcome measure in smoking cessation trials to determine if an individual has quit smoking. |
| Essential PhenX Protocols: | Current Age [10101] Ethnicity and Race [11901] Sex Assigned at Birth [11601] Gender Identity [11801] Cigarette Smoking Status - Adolescent [30603] Cigarette Smoking Status - Adult [30604] |
| Related PhenX Protocols: | Current Environmental Tobacco Smoke Exposure [60701] Passive Smoke Exposure [70301] |
| Measure Release Date: | May 12, 2010 |

| About the Protocol |  |
| --- | --- |
| Protocol Release Date: | November 28, 2017 |
| Protocol Review Date: | November 28, 2017 |
| PhenX Protocol Name: | Biomarker of exposure to nicotine-containing products - Serum |
| Protocol Name From Source: | National Health and Nutrition Examination Survey (NHANES), Cotinine Analysis, 2011-2012 |
| Protocol Availability: | Available |
| Keywords: | cotinine; Centers for Disease Control and Prevention; CDC; National Health and Nutrition Examination Survey; NHANES; Respiratory |
| Description: | This is the laboratory protocol for measuring serum cotinine, which is used by the Centers for Disease Control and Prevention and for National Health and Nutrition Examination Survey (NHANES) cotinine analyses. |
| Specific Instructions: | None |
| Protocol: | Serum cotinine is measured by high-performance liquid chromatography atmospheric pressure chemical ionization tandem mass spectrometry (LC APCI MS/MS). Briefly, a 0.5-ml aliquot of the serum sample is equilibrated with a cotinine-D3 internal standard for 20 min, and then applied to a basified solid-phase extraction column. Cotinine is extracted using methylene chloride, the organic extract is concentrated, and the residue is injected onto a C-18 HPLC column. The eluant from these injections is monitored by APCI-MS/MS, and the m/z 80 daughter ion from the m/z 177 quasi-molecular ion is quantitated. Additional ions for the internal standard and for confirmation are also monitored. Cotinine concentrations are derived from the ratio of native-to-labeled cotinine in the sample by comparisons to a standard curve. The limit of detection (LOD) is 15 pg/ml. |
| Selection Rationale: | Cotinine is a major metabolite of nicotine that can be used as a marker for active smoking and as an index for SHS exposure, otherwise known as passive smoking. Cotinine generally is preferred over nicotine for such assessments because of its substantially longer half-life. The estimated half-life of cotinine in plasma is about 15-20 hours; by contrast, the half-life of nicotine is only 0.5-3 hours. Cotinine can be measured in serum, urine, or saliva-the half-life of cotinine in all three fluids is essentially the same (1). It is useful to measure nicotine exposure biomarkers (e.g., cotinine) in multiple matrices such as blood and urine; blood plasma or serum has been used as the fluid of choice for studies requiring a quantitative assessment of nicotine exposure. For that reason, serum was chosen as the matrix for the NHANES cotinine analyses. This protocol was used to measure serum cotinine in NHANES from 2002 to 2012 (2,3). |
| Source: | [link[www.phenxtoolkit.org/toolkit_content/supplemental_info/respiratory/additional_info/CDC_Cotinine_Serum.pdf¦CDC Laboratory Procedure Manual for Cotinine in Serum]] Centers for Disease Control and Prevention (CDC), National Center for Health Statistics (NCHS). (2011-2012). National Health and Nutrition Examination Survey Anthropometry Procedures Manual. Hyattsville, MD: U.S. Department of Health and Human Services, Centers for Disease Control and Prevention |
| Language | English |
| Participant: | All participants who can provide a blood sample who are 3 years old and older. |
| Personnel and Training Required: | Laboratory training in the use of liquid chromatography and tandem mass spectrometry is required. All analysts must be CLIA-certified and demonstrate proficiency in the analysis before handling samples. |
| Equipment Needs: | This method requires high-performance liquid chromatography and tandem mass spectrometry as detailed in the attached document "CDC Laboratory Procedure Manual for COTININE IN SERUM." |
| Standards |  |
| General References: | Avila-Tang E, Al-Delaimy WK, Ashley DL, Benowitz N, Bernert JT, Kim S, Samet JM, Hecht SS. (2013). Assessing secondhand smoke using biological markers. Tob Control, 22(3): 164-871. Jarvis, M. J., Russell, M. A. H., Benowitz, N. L., & Feyerabend, C. (1988). Elimination of cotinine from body fluids: Implications for noninvasive measurement of tobacco smoke exposure. American Journal of Public Health, 78, 696-698. Bernert, J. T., Turner, W. E., Pirkle, J. L., Sosnoff, C. S., Akins, J. R., Waldrep, M. K., et al. (1997). Development and validation of a sensitive method for determination of serum cotinine in smokers and nonsmokers by liquid chromatography / atmospheric pressure ionization tandem mass spectrometry. Clinical Chemistry, 43, 2281-2291. |
| Mode of Administration: | Bioassay |
| Derived Variables: | None |
| Requirements: | Requirement Category; Required (Yes/No). Major equipment; No. Specialized training; Yes. Specialized requirements for biospecimen collection; No. Average time of greater than 15 minutes in an unaffected individual; No. |
| Annotations for Specific Conditions: | None |
| Process and Review: | Not applicable. |