Data Collection Worksheet

Please Note: The Data Collection Worksheet (DCW) is a tool to aid integration of a PhenX protocol into a study. The PhenX DCW is not designed to be a data collection instrument. Investigators will need to decide the best way to collect data for the PhenX protocol in their study. Variables captured in the DCW, along with variable names and unique PhenX variable identifiers, are included in the PhenX Data Dictionary (DD) files. The following is a summary description for obtaining body temperature by oral measurement.

Oral Body Temperature:

• There are many different types of oral thermometers that are appropriate for this protocol. Investigators should follow the manufacturer’s recommendations for calibration and measurement.

• Place the thermometer probe in the sublingual pocket for the full measuring period. This period is determined by the amount of time needed for the probe’s temperature to equilibrate with the contact area and varies depending upon the type of thermometer used. For example, a few seconds is needed for an electronic contact thermometer in predictive mode and one minute is required for a chemical phase change thermometer.

• Read the thermometer and record the temperature.

Normal Body Temperature:

MethodDegrees FahrenheitDegrees CelsiusOral96.8 to 99.736.0 to 37.6Protocol source: https://www.phenxtoolkit.org/protocols/view/810102